## Sheet1
bldg:Attic brick:hasPoint bldg:AmpsAIA1 . | bldg:1stFloorLightsEnergyUsage a brick:Energy_Usage_Sensor . | bldg:First_Floor a brick:Floor . | bldg:First_Floor brick:hasPart bldg:Bathroom_1.
bldg:Attic brick:hasPoint bldg:AmpsAIA2 . | bldg:1stFloorLightsPowerUsage a brick:Thermal_Power_Sensor . | bldg:Second_Floor a brick:Floor . | bldg:First_Floor brick:hasPart bldg:Bedroom_4.
bldg:Attic brick:hasPoint bldg:AmpsBIB1 . | bldg:1stFloorSensHeatEnergyUsage a brick:Energy_Usage_Sensor . | bldg:Mudroom a brick:Room . | bldg:First_Floor brick:hasPart bldg:Dining_Room.
bldg:Attic brick:hasPoint bldg:AmpsBIB2 . | bldg:1stFloorSensHeatPowerUsage a brick:Thermal_Power_Sensor . | bldg:Kitchen a brick:Room . | bldg:First_Floor brick:hasPart bldg:Entry_Hallway.
bldg:Attic brick:hasPoint bldg:EnergyLightsAttic . | bldg:2ndFloorLightsEnergyUsage a brick:Energy_Usage_Sensor . | bldg:Master_Bedroom a brick:Room . | bldg:First_Floor brick:hasPart bldg:Kitchen.
bldg:Attic brick:hasPoint bldg:EnergyMakeUpAirDamper . | bldg:2ndFloorLightsPowerUsage a brick:Thermal_Power_Sensor . | bldg:Living_Room a brick:Room . | bldg:First_Floor brick:hasPart bldg:Living_Room.
bldg:Attic brick:hasPoint bldg:EnergyPlugsAttic . | bldg:2ndFloorSensHeatEnergyUsage a brick:Energy_Usage_Sensor . | bldg:Master_Bathroom a brick:Room . | bldg:First_Floor brick:hasPart bldg:Mudroom.
bldg:Attic brick:hasPoint bldg:FrequencyF1 . | bldg:2ndFloorSensHeatPowerUsage a brick:Thermal_Power_Sensor . | bldg:Attic a brick:Room . | bldg:First_Floor brick:hasPart bldg:Utility.
bldg:Attic brick:hasPoint bldg:FrequencyF2 . | bldg:AmpsAIA1 a brick:Current_Sensor . | bldg:Bathroom_1 a brick:Room . | bldg:Second_Floor brick:hasPart bldg:Bathroom_2.
bldg:Attic brick:hasPoint bldg:PowerFactor3PhTotalPF3PhT1 . | bldg:AmpsAIA2 a brick:Current_Sensor . | bldg:Bathroom_2 a brick:Room . | bldg:Second_Floor brick:hasPart bldg:Bedroom_2.
bldg:Attic brick:hasPoint bldg:PowerFactor3PhTotalPF3PhT2 . | bldg:AmpsBIB1 a brick:Current_Sensor . | bldg:Bedroom_2 a brick:Room . | bldg:Second_Floor brick:hasPart bldg:Bedroom_3.
bldg:Attic brick:hasPoint bldg:PowerLightsAttic . | bldg:AmpsBIB2 a brick:Current_Sensor . | bldg:Bedroom_3 a brick:Room . | bldg:Second_Floor brick:hasPart bldg:Master_Bathroom.
bldg:Attic brick:hasPoint bldg:PowerMakeUpAirDamper . | bldg:BasementPlugLoadsEnergyUsage a brick:Energy_Usage_Sensor . | bldg:Bedroom_4 a brick:Room . | bldg:Second_Floor brick:hasPart bldg:Master_Bedroom.
bldg:Attic brick:hasPoint bldg:PowerPlugsAttic . | bldg:BasementPlugLoadsPowerUsage a brick:Power_Sensor . | bldg:Dining_Room a brick:Room . | bldg:Conditioned_Places brick:hasPart bldg:Attic.
bldg:Attic brick:hasPoint bldg:PVSystem1ACEnergyOSEACPV1OS . | bldg:BasementRH a brick:Relative_Humidity_Sensor . | bldg:Utility a brick:Room . | bldg:Conditioned_Places brick:hasPart bldg:Basement.
bldg:Attic brick:hasPoint bldg:PVSystem1ACPowerOSPACPV1OS . | bldg:Bedroom2RH a brick:Relative_Humidity_Sensor . | bldg:Basement a brick:Basement . | bldg:Conditioned_Places brick:hasPart bldg:First_Floor.
bldg:Attic brick:hasPoint bldg:PVSystem2ACEnergyOSEACPV2OS . | bldg:Bedroom3RH a brick:Relative_Humidity_Sensor . | bldg:Entry_Hallway a brick:Space . | bldg:Conditioned_Places brick:hasPart bldg:Second_Floor.
bldg:Attic brick:hasPoint bldg:PVSystem2ACPowerOSPACPV2OS . | bldg:BR2PlugLoadsEnergyUsage a brick:Energy_Usage_Sensor . | bldg:Outdoor a brick:Outside . | bldg:Hot_Water_Supply_Zone brick:hasPart bldg:Bathroom_1 .
bldg:Attic brick:hasPoint bldg:RoomTempAtticNE . | bldg:BR2PlugLoadsPowerUsage a brick:Power_Sensor . | bldg:Heat_Pump a brick:Heat_Exchanger . | bldg:Hot_Water_Supply_Zone brick:hasPart bldg:Bathroom_2 .
bldg:Attic brick:hasPoint bldg:RoomTempAtticNW . | bldg:BR3PlugLoadsEnergyUsage a brick:Energy_Usage_Sensor . | bldg:Solar_Collectors a brick:Solar_Panel . | bldg:Hot_Water_Supply_Zone brick:hasPart bldg:Kitchen .
bldg:Attic brick:hasPoint bldg:RoomTempAtticSE . | bldg:BR3PlugLoadsPowerUsage a brick:Power_Sensor . | bldg:Solar_Storage_Tank a brick:Equipment . | bldg:Hot_Water_Supply_Zone brick:hasPart bldg:Master_Bathroom .
bldg:Attic brick:hasPoint bldg:RoomTempAtticSW . | bldg:BR4PlugLoadsEnergyUsage a brick:Energy_Usage_Sensor . | bldg:Air_Distribution a brick:Equipment . | bldg:Water_Pump brick:feeds bldg:Solar_Storage_Tank .
bldg:Attic brick:hasPoint bldg:StringCurrentIStr1 . | bldg:BR4PlugLoadsPowerUsage a brick:Power_Sensor . | bldg:Water_Pump a brick:Water_Pump . | bldg:Heat_Pump_Indoor brick:feeds bldg:Air_Distribution .
bldg:Attic brick:hasPoint bldg:StringCurrentIStr2 . | bldg:ClothesWasherColdFlow a brick:Water_Usage_Sensor . | bldg:Heat_Pump_Indoor_Unit a brick:AHU . | bldg:Heat_Pump_Water_Heater brick:feeds bldg:Hot_Water_Supply_Zone .
bldg:Attic brick:hasPoint bldg:StringCurrentIStr3 . | bldg:ClothesWasherEnergywithStandby a brick:Energy_Usage_Sensor . | bldg:Heat_Pump_Outdoor_Unit a brick:Heat_Exchanger . | bldg:Air_Distribution brick:feeds bldg:Conditioned_Places .
bldg:Attic brick:hasPoint bldg:StringCurrentIStr4 . | bldg:ClothesWasherHotFlow a brick:Water_Usage_Sensor . | bldg:Heat_Pump_Water_Heater a brick:Hot_Water_System . | bldg:Solar_Collectors brick:feeds bldg:Pump .
bldg:Attic brick:hasPoint bldg:StringVoltageUStr2 . | bldg:ClothesWasherPowerWithStandby a brick:Thermal_Power_Sensor . | bldg:Multiple a brick:Zone .
bldg:Attic brick:hasPoint bldg:StringVoltageUStr4 . | bldg:DehumidifierAirflow a brick:Air_Flow_Sensor . | bldg:Conditioned_Places a bldg:Zone.
bldg:Attic brick:hasPoint bldg:VoltsANUAN1 . | bldg:DehumidifierExitAirTemp a brick:Air_Temperature_Sensor . | bldg:Hot_Water_Supply_Zone a brick:Zone .
bldg:Attic brick:hasPoint bldg:VoltsANUAN2 . | bldg:DehumidifierInletAirTemp a brick:Air_Temperature_Sensor .
bldg:Attic brick:hasPoint bldg:VoltsBNUBN1 . | bldg:DehumidifierPower a brick:Thermal_Power_Sensor .
bldg:Attic brick:hasPoint bldg:VoltsBNUBN2 . | bldg:DishwasherHotFlow a brick:Water_Usage_Sensor .
bldg:Attic brick:hasPoint bldg:Watts3PhTotalW3PhT1 . | bldg:DryerEnergyTotal a brick:Energy_Usage_Sensor .
bldg:Attic brick:hasPoint bldg:Watts3PhTotalW3PhT2 . | bldg:DryerPowerTotal a brick:Energy_Usage_Sensor .
bldg:Attic brick:hasPoint bldg:WhoursDeliveredWhD1 . | bldg:EnergyChildADownstairs a brick:Energy_Usage_Sensor .
bldg:Attic brick:hasPoint bldg:WhoursDeliveredWhD2 . | bldg:EnergyChildAUpstairs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:BasementPlugLoadsEnergyUsage . | bldg:EnergyChildBDownstairs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:BasementPlugLoadsPowerUsage . | bldg:EnergyChildBUpstairs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:BasementRH . | bldg:EnergyClothesWasher a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:DehumidifierAirflow . | bldg:EnergyDishwasher a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:DehumidifierExitAirTemp . | bldg:EnergyDryer1of2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:DehumidifierInletAirTemp . | bldg:EnergyDryer2of2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:DehumidifierPower . | bldg:EnergyGarbageDisposal a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyHeatPumpWH1of2 . | bldg:EnergyHeatLoadforRefrigerator a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyHeatPumpWH2of2 . | bldg:EnergyHeatPumpWH1of2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyHRV . | bldg:EnergyHeatPumpWH2of2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyLightingControlPanelRPS1 . | bldg:EnergyHRV a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyLightingControlPanelRPS2 . | bldg:EnergyLightingControlPanelRPS1 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyLightsBasement . | bldg:EnergyLightingControlPanelRPS2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyLightsBasementStair . | bldg:EnergyLights1stFloorA a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyPlugsBaseAHeliodyneHXs . | bldg:EnergyLights1stFloorB a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyPlugsBaseB . | bldg:EnergyLights2ndFloor a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyPlugsBaseC . | bldg:EnergyLightsAttic a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyPlugsGSHPInstrumentation . | bldg:EnergyLightsBasement a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyPlugsHVACInstrumentation . | bldg:EnergyLightsBasementStair a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyPV1of2 . | bldg:EnergyMakeUpAirDamper a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergyPV2of2 . | bldg:EnergyMicrowave a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergySpare1 . | bldg:EnergyParentADownstairs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergySpare2 . | bldg:EnergyParentAUpstairs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:EnergySumpPump . | bldg:EnergyParentBDownstairs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:GlycolFlowHXCoriolisSHW . | bldg:EnergyParentBUpstairs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:GlycolFlowRateHXCoriolisSHW . | bldg:EnergyPlugs2ndFloor a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HeatPumpIndoorUnitPower . | bldg:EnergyPlugsAttic a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HeatPumpWaterHeaterEnergyTotal . | bldg:EnergyPlugsBA1 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HeatPumpWaterHeaterPowerTotal . | bldg:EnergyPlugsBA2North a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVDewpointTemperatureExhaust . | bldg:EnergyPlugsBA2South a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVDewpointTemperatureOutdoor . | bldg:EnergyPlugsBaseAHeliodyneHXs a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVDewpointTemperatureReturn . | bldg:EnergyPlugsBaseB a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVDewpointTemperatureSupply . | bldg:EnergyPlugsBaseC a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVexhaustflowrate . | bldg:EnergyPlugsBR2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVfreshairpressuredifferential . | bldg:EnergyPlugsBR3 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVoutdoorflowrate . | bldg:EnergyPlugsBR4 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVreturnflowrate . | bldg:EnergyPlugsDR a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVstaleairpressuredifferential . | bldg:EnergyPlugsDRB a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVTempExhaustOut . | bldg:EnergyPlugsEntryHall a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVTempOutdoorin . | bldg:EnergyPlugsGSHPInstrumentation a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVTempReturnIn . | bldg:EnergyPlugsHVACInstrumentation a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HRVTempSupplyOut . | bldg:EnergyPlugsInstBA1 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HVACDewpointReturnAir . | bldg:EnergyPlugsInstBA2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HVACDewpointSupplyAir . | bldg:EnergyPlugsInstBR2Hall a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HVACTempReturnAir . | bldg:EnergyPlugsInstBR3 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:HVACTempSupplyAir . | bldg:EnergyPlugsInstBR4A a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:ManifoldColdFlow . | bldg:EnergyPlugsInstBR4B a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:ManifoldHotFlow . | bldg:EnergyPlugsInstDRA a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:MixValveColdFlow . | bldg:EnergyPlugsInstHall a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerHeatPumpWH1of2 . | bldg:EnergyPlugsInstKitA a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerHeatPumpWH2of2 . | bldg:EnergyPlugsInstKitD a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerHRV . | bldg:EnergyPlugsInstLRA a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerLightingControlPanelRPS1 . | bldg:EnergyPlugsInstLRB a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerLightingControlPanelRPS2 . | bldg:EnergyPlugsInstMBAB a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerLightsBasement . | bldg:EnergyPlugsInstMBRA a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerLightsBasementStair . | bldg:EnergyPlugsInstMudroomA a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerPlugsBaseAHeliodyneHXs . | bldg:EnergyPlugsInstMudroomB a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerPlugsBaseB . | bldg:EnergyPlugsKitPeninsula a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerPlugsBaseC . | bldg:EnergyPlugsKitRange a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerPlugsGSHPInstrumentation . | bldg:EnergyPlugsKitSink a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerPlugsHVACInstrumentation . | bldg:EnergyPlugsLR a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerPV1of2 . | bldg:EnergyPlugsMBAEast a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerPV2of2 . | bldg:EnergyPlugsMBAWest a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerSpare1 . | bldg:EnergyPlugsMBR a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerSpare2 . | bldg:EnergyPV1of2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:PowerSumpPump . | bldg:EnergyPV2of2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:RoomTempBasementHPWH . | bldg:EnergyRefrigerator a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:RoomTempBasementNE . | bldg:EnergySpare1 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:RoomTempBasementNW . | bldg:EnergySpare2 a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:RoomTempBasementSE . | bldg:EnergySumpPump a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:RoomTempBasementSW . | bldg:FrequencyF1 a brick:Frequency_Sensor .
bldg:Basement brick:hasPoint bldg:SHWGlycolTempIn . | bldg:FrequencyF2 a brick:Frequency_Sensor .
bldg:Basement brick:hasPoint bldg:SHWGlycolTempOut . | bldg:GlycolFlowHXCoriolisSHW a brick:Flow_Sensor .
bldg:Basement brick:hasPoint bldg:SHWHX80galWaterFlow . | bldg:GlycolFlowRateHXCoriolisSHW a brick:Flow_Sensor .
bldg:Basement brick:hasPoint bldg:SHWPumpsEnergywithStandby . | bldg:GlycolTempSHWPanel80galOut a brick:Temperature_Sensor .
bldg:Basement brick:hasPoint bldg:SHWPumpsPowerwithStandby . | bldg:HeatPumpIndoorUnitPower a brick:Thermal_Power_Sensor .
bldg:Basement brick:hasPoint bldg:WaterFlowHXCoriolisSHW . | bldg:HeatPumpOutdoorUnitPower a brick:Thermal_Power_Sensor .
bldg:Basement brick:hasPoint bldg:WaterFlowRateHXCoriolisSHW . | bldg:HeatPumpWaterHeaterEnergyTotal a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempHPWHIn . | bldg:HeatPumpWaterHeaterPowerTotal a brick:Energy_Usage_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempHPWHOut . | bldg:HRVDewpointTemperatureExhaust a brick:Dewpoint_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempManifoldColdIn . | bldg:HRVDewpointTemperatureOutdoor a brick:Dewpoint_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempManifoldHotIn . | bldg:HRVDewpointTemperatureReturn a brick:Dewpoint_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempMixValveColdIn . | bldg:HRVDewpointTemperatureSupply a brick:Dewpoint_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempMixValveHotIn . | bldg:HRVexhaustflowrate a brick:Air_Flow_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempSHWHX80galIn . | bldg:HRVfreshairpressuredifferential a brick:Differential_Pressure_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempSHWHX80galOut . | bldg:HRVoutdoorflowrate a brick:Air_Flow_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempSHWTank80galIn . | bldg:HRVreturnflowrate a brick:Air_Flow_Sensor .
bldg:Basement brick:hasPoint bldg:WaterTempSHWTank80galOut . | bldg:HRVstaleairpressuredifferential a brick:Differential_Pressure_Sensor .
bldg:Bathroom_1 brick:hasPoint bldg:EnergyPlugsBA1 . | bldg:HRVTempExhaustOut a brick:Temperature_Sensor .
bldg:Bathroom_1 brick:hasPoint bldg:EnergyPlugsInstBA1 . | bldg:HRVTempOutdoorin a brick:Temperature_Sensor .
bldg:Bathroom_1 brick:hasPoint bldg:PowerPlugsBA1 . | bldg:HRVTempReturnIn a brick:Temperature_Sensor .
bldg:Bathroom_1 brick:hasPoint bldg:PowerPlugsInstBA1 . | bldg:HRVTempSupplyOut a brick:Temperature_Sensor .
bldg:Bathroom_1 brick:hasPoint bldg:RoomTempBA1Temp . | bldg:HVACDewpointReturnAir a brick:Return_Air_Dewpoint_Sensor .
bldg:Bathroom_1 brick:hasPoint bldg:StatusBA1Lights . | bldg:HVACDewpointSupplyAir a brick:Supply_Air_Dewpoint_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:EnergyLights2ndFloor . | bldg:HVACTempReturnAir a brick:Air_Temperature_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:EnergyPlugs2ndFloor . | bldg:HVACTempSupplyAir a brick:Air_Temperature_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:EnergyPlugsBA2North . | bldg:KitchenRH a brick:Relative_Humidity_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:EnergyPlugsBA2South . | bldg:KPlugLoadsEnergyUsage a brick:Energy_Usage_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:EnergyPlugsInstBA2 . | bldg:KPlugLoadsPowerUsage a brick:Power_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:PowerLights2ndFloor . | bldg:LatentHeatEnergyUsage a brick:Energy_Usage_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:PowerPlugs2ndFloor . | bldg:LatentHeatPowerUsage a brick:Thermal_Power_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:PowerPlugsBA2North . | bldg:LatentHeatWaterVolume a brick:Water_Level_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:PowerPlugsBA2South . | bldg:LivingRmRH a brick:Relative_Humidity_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:PowerPlugsInstBA2 . | bldg:LRPlugLoadsEnergyUsage a brick:Energy_Usage_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:RoomTempBA2Temp . | bldg:LRPlugLoadsPowerUsage a brick:Power_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:StatusBA2Lights . | bldg:ManifoldColdFlow a brick:Water_Usage_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:WaterTempBAShowerMixed . | bldg:ManifoldHotFlow a brick:Water_Usage_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:WaterTempBAShwCold . | bldg:MastBedRmRH a brick:Relative_Humidity_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:WaterTempBAShwHot . | bldg:MBARH a brick:Relative_Humidity_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:WaterTempBASinkCold . | bldg:MBRPlugLoadsEnergyUsage a brick:Energy_Usage_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:WaterTempBASinkHot . | bldg:MBRPlugLoadsPowerUsage a brick:Power_Sensor .
bldg:Bathroom_2 brick:hasPoint bldg:WaterTempBASinkMixed . | bldg:MicrowaveEnergywithStandby a brick:Energy_Usage_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:Bedroom2RH . | bldg:MicrowavePowerWithStandby a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:BR2PlugLoadsEnergyUsage . | bldg:MixValveColdFlow a brick:Water_Usage_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:BR2PlugLoadsPowerUsage . | bldg:OutdoorAmbTemp a brick:Temperature_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:EnergyChildAUpstairs . | bldg:OvenEnergyTotal a brick:Energy_Usage_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:EnergyPlugsBR2 . | bldg:OvenPowerTotal a brick:Energy_Usage_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:EnergyPlugsInstBR2Hall . | bldg:PowerChildADownstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:PowerChildAUpstairs . | bldg:PowerChildAUpstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:PowerPlugsBR2 . | bldg:PowerChildBDownstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:PowerPlugsInstBR2Hall . | bldg:PowerChildBUpstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:RadiantTempBR2 . | bldg:PowerClothesWasher a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:RoomTempBR2Temp . | bldg:PowerDishwasher a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:StatusBR2Lights . | bldg:PowerDryer1of2 a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:StatusPlugLoadBR2Laptop . | bldg:PowerDryer2of2 a brick:Thermal_Power_Sensor .
bldg:Bedroom_2 brick:hasPoint bldg:StatusSensHeatChildAUP . | bldg:PowerFactor3PhTotalPF3PhT1 a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:Bedroom3RH . | bldg:PowerFactor3PhTotalPF3PhT2 a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:BR3PlugLoadsEnergyUsage . | bldg:PowerGarbageDisposal a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:BR3PlugLoadsPowerUsage . | bldg:PowerHeatLoadforRefrigerator a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:EnergyChildBUpstairs . | bldg:PowerHeatPumpWH1of2 a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:EnergyPlugsBR3 . | bldg:PowerHeatPumpWH2of2 a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:EnergyPlugsInstBR3 . | bldg:PowerHRV a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:PowerChildBUpstairs . | bldg:PowerLightingControlPanelRPS1 a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:PowerPlugsBR3 . | bldg:PowerLightingControlPanelRPS2 a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:PowerPlugsInstBR3 . | bldg:PowerLights1stFloorA a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:RadiantTempBR3 . | bldg:PowerLights1stFloorB a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:RoomTempBR3Temp . | bldg:PowerLights2ndFloor a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:StatusBR3Lights . | bldg:PowerLightsAttic a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:StatusPlugLoadBR3Laptop . | bldg:PowerLightsBasement a brick:Thermal_Power_Sensor .
bldg:Bedroom_3 brick:hasPoint bldg:StatusSensHeatChildBUP . | bldg:PowerLightsBasementStair a brick:Thermal_Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:BR4PlugLoadsEnergyUsage . | bldg:PowerMakeUpAirDamper a brick:Thermal_Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:BR4PlugLoadsPowerUsage . | bldg:PowerMicrowave a brick:Thermal_Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:EnergyPlugsBR4 . | bldg:PowerParentADownstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:EnergyPlugsInstBR4A . | bldg:PowerParentAUpstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:EnergyPlugsInstBR4B . | bldg:PowerParentBDownstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:PowerPlugsBR4 . | bldg:PowerParentBUpstairs a brick:Thermal_Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:PowerPlugsInstBR4A . | bldg:PowerPlugs2ndFloor a brick:Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:PowerPlugsInstBR4B . | bldg:PowerPlugsAttic a brick:Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:RoomTempBR4Temp . | bldg:PowerPlugsBA1 a brick:Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:StatusBR4Lights . | bldg:PowerPlugsBA2North a brick:Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:StatusPlugLoadDesktopPCMonitor . | bldg:PowerPlugsBA2South a brick:Power_Sensor .
bldg:Bedroom_4 brick:hasPoint bldg:StatusPlugLoadVacuum . | bldg:PowerPlugsBaseAHeliodyneHXs a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:EnergyChildBDownstairs . | bldg:PowerPlugsBaseB a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:EnergyParentBDownstairs . | bldg:PowerPlugsBaseC a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:EnergyPlugsDR . | bldg:PowerPlugsBR2 a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:EnergyPlugsDRB . | bldg:PowerPlugsBR3 a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:EnergyPlugsInstDRA . | bldg:PowerPlugsBR4 a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:PowerChildBDownstairs . | bldg:PowerPlugsDR a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:PowerParentBDownstairs . | bldg:PowerPlugsDRB a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:PowerPlugsDR . | bldg:PowerPlugsEntryHall a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:PowerPlugsDRB . | bldg:PowerPlugsGSHPInstrumentation a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:PowerPlugsInstDRA . | bldg:PowerPlugsHVACInstrumentation a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:RoomTempDRTemp . | bldg:PowerPlugsInstBA1 a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:StatusDRLights . | bldg:PowerPlugsInstBA2 a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:StatusSensHeatChildBDOWN . | bldg:PowerPlugsInstBR2Hall a brick:Power_Sensor .
bldg:Dining_Room brick:hasPoint bldg:StatusSensHeatPrntBDOWN . | bldg:PowerPlugsInstBR3 a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:EnergyPlugsEntryHall . | bldg:PowerPlugsInstBR4A a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:EnergyPlugsInstHall . | bldg:PowerPlugsInstBR4B a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:PowerPlugsEntryHall . | bldg:PowerPlugsInstDRA a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:PowerPlugsInstHall . | bldg:PowerPlugsInstHall a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:RoomTempHallLowerMid . | bldg:PowerPlugsInstKitA a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:RoomTempHallLowest . | bldg:PowerPlugsInstKitD a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:RoomTempHallMiddle . | bldg:PowerPlugsInstLRA a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:RoomTempHallUpper . | bldg:PowerPlugsInstLRB a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:RoomTempHallUpperMid . | bldg:PowerPlugsInstMBAB a brick:Power_Sensor .
bldg:Entry_Hallway brick:hasPoint bldg:StatusEntryHallLights . | bldg:PowerPlugsInstMBRA a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:DishwasherHotFlow . | bldg:PowerPlugsInstMudroomA a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyDishwasher . | bldg:PowerPlugsInstMudroomB a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyGarbageDisposal . | bldg:PowerPlugsKitPeninsula a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyHeatLoadforRefrigerator . | bldg:PowerPlugsKitRange a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyMicrowave . | bldg:PowerPlugsKitSink a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyParentADownstairs . | bldg:PowerPlugsLR a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyPlugsInstKitA . | bldg:PowerPlugsMBAEast a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyPlugsInstKitD . | bldg:PowerPlugsMBAWest a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyPlugsKitPeninsula . | bldg:PowerPlugsMBR a brick:Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyPlugsKitRange . | bldg:PowerPV1of2 a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyPlugsKitSink . | bldg:PowerPV2of2 a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:EnergyRefrigerator . | bldg:PowerRefrigerator a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:KitchenRH . | bldg:PowerSpare1 a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:KPlugLoadsEnergyUsage . | bldg:PowerSpare2 a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:KPlugLoadsPowerUsage . | bldg:PowerSumpPump a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:LatentHeatEnergyUsage . | bldg:PSPSHW a brick:Solar_Radiance_Sensor .
bldg:Kitchen brick:hasPoint bldg:LatentHeatPowerUsage . | bldg:PVBacksideTemp2 a brick:Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:LatentHeatWaterVolume . | bldg:PVBacksideTemp3 a brick:Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:MicrowaveEnergywithStandby . | bldg:PVBacksideTemp4 a brick:Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:MicrowavePowerWithStandby . | bldg:PVBacksideTemp7 a brick:Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:OvenEnergyTotal . | bldg:PVInsolationHArray a brick:Solar_Radiance_Sensor .
bldg:Kitchen brick:hasPoint bldg:OvenPowerTotal . | bldg:PVSystem1ACEnergyOSEACPV1OS a brick:Energy_Usage_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerDishwasher . | bldg:PVSystem1ACPowerOSPACPV1OS a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerGarbageDisposal . | bldg:PVSystem2ACEnergyOSEACPV2OS a brick:Energy_Usage_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerHeatLoadforRefrigerator . | bldg:PVSystem2ACPowerOSPACPV2OS a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerMicrowave . | bldg:RadiantTempBR2 a brick:Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerParentADownstairs . | bldg:RadiantTempBR3 a brick:Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerPlugsInstKitA . | bldg:RadiantTempKitchen a brick:Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerPlugsInstKitD . | bldg:RadiantTempLR a brick:Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerPlugsKitPeninsula . | bldg:RadiantTempMBR a brick:Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerPlugsKitRange . | bldg:RefrigeratorEnergywithStandby a brick:Energy_Usage_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerPlugsKitSink . | bldg:RefrigeratorPowerWithStandby a brick:Thermal_Power_Sensor .
bldg:Kitchen brick:hasPoint bldg:PowerRefrigerator . | bldg:RefrigeratorTemp a brick:Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:RadiantTempKitchen . | bldg:RooftopWindDirection a brick:Wind_Direction_Sensor .
bldg:Kitchen brick:hasPoint bldg:RefrigeratorEnergywithStandby . | bldg:RooftopWindSpeed a brick:Wind_Speed_Sensor .
bldg:Kitchen brick:hasPoint bldg:RefrigeratorPowerWithStandby . | bldg:RoomTempAtticNE a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:RefrigeratorTemp . | bldg:RoomTempAtticNW a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:RoomTempKitchenTemp . | bldg:RoomTempAtticSE a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:RoomTempWDTemp . | bldg:RoomTempAtticSW a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusApplianceCooktop . | bldg:RoomTempBA1Temp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusApplianceDishwasher . | bldg:RoomTempBA2Temp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusApplianceOven . | bldg:RoomTempBasementHPWH a brick:Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusApplianceRangeHood . | bldg:RoomTempBasementNE a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusKitchenLightsA . | bldg:RoomTempBasementNW a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusKitchenLightsB . | bldg:RoomTempBasementSE a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusKitchenLightsC . | bldg:RoomTempBasementSW a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusLatentload . | bldg:RoomTempBR2Temp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusPlugLoadBlender . | bldg:RoomTempBR3Temp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusPlugLoadCanOpener . | bldg:RoomTempBR4Temp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusPlugLoadCoffeeMaker . | bldg:RoomTempDRTemp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusPlugLoadHandMixer . | bldg:RoomTempHallLowerMid a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusPlugLoadSlowCooker . | bldg:RoomTempHallLowest a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusPlugLoadToaster . | bldg:RoomTempHallMiddle a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusPlugLoadToasterOven . | bldg:RoomTempHallUpper a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusSensHeatPrntADOWN . | bldg:RoomTempHallUpperMid a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusSolenoidColdKitchenSink . | bldg:RoomTempKitchenTemp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:StatusSolenoidHotKitchenSink . | bldg:RoomTempLRTemp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:WaterTempDishwasher . | bldg:RoomTempMBATemp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:WaterTempKSinkCold . | bldg:RoomTempMBRTemp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:WaterTempKSinkHot . | bldg:RoomTempWDTemp a brick:Zone_Air_Temperature_Sensor .
bldg:Kitchen brick:hasPoint bldg:WaterTempKSinkMix . | bldg:SHWGlycolTempIn a brick:Temperature_Sensor .
bldg:Living_Room brick:hasPoint bldg:EnergyChildADownstairs . | bldg:SHWGlycolTempOut a brick:Temperature_Sensor .
bldg:Living_Room brick:hasPoint bldg:EnergyPlugsInstLRA . | bldg:SHWHX80galWaterFlow a brick:Flow_Sensor .
bldg:Living_Room brick:hasPoint bldg:EnergyPlugsInstLRB . | bldg:SHWPumpsEnergywithStandby a brick:Energy_Usage_Sensor .
bldg:Living_Room brick:hasPoint bldg:EnergyPlugsLR . | bldg:SHWPumpsPowerwithStandby a brick:Electrical_Power_Sensor .
bldg:Living_Room brick:hasPoint bldg:LivingRmRH . | bldg:StatusApplianceCooktop a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:LRPlugLoadsEnergyUsage . | bldg:StatusApplianceDishwasher a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:LRPlugLoadsPowerUsage . | bldg:StatusApplianceOven a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:PowerChildADownstairs . | bldg:StatusApplianceRangeHood a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:PowerPlugsInstLRA . | bldg:StatusBA1Lights a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:PowerPlugsInstLRB . | bldg:StatusBA2Lights a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:PowerPlugsLR . | bldg:StatusBR2Lights a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:RadiantTempLR . | bldg:StatusBR3Lights a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:RoomTempLRTemp . | bldg:StatusBR4Lights a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:StatusLRLights1 . | bldg:StatusDRLights a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:StatusLRLights2 . | bldg:StatusEntryHallLights a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:StatusLRLights3 . | bldg:StatusKitchenLightsA a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:StatusPlugLoadLRBlueRay . | bldg:StatusKitchenLightsB a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:StatusPlugLoadLRTV . | bldg:StatusKitchenLightsC a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:StatusPlugLoadVideoGame . | bldg:StatusLatentload a brick:On_Off_Status .
bldg:Living_Room brick:hasPoint bldg:StatusSensHeatChildADOWN . | bldg:StatusLRLights1 a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:EnergyPlugsInstMBAB . | bldg:StatusLRLights2 a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:EnergyPlugsMBAEast . | bldg:StatusLRLights3 a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:EnergyPlugsMBAWest . | bldg:StatusMBALights a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:MBARH . | bldg:StatusMBRLights1 a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:PowerPlugsInstMBAB . | bldg:StatusMBRLights2 a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:PowerPlugsMBAEast . | bldg:StatusPlugLoadBlender a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:PowerPlugsMBAWest . | bldg:StatusPlugLoadBR2Laptop a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:RoomTempMBATemp . | bldg:StatusPlugLoadBR3Laptop a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:StatusMBALights . | bldg:StatusPlugLoadCanOpener a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:StatusPlugLoadHairDryerCurlIron . | bldg:StatusPlugLoadCoffeeMaker a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:StatusSolenoidColdMBAShower . | bldg:StatusPlugLoadDesktopPCMonitor a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:StatusSolenoidColdMBATub . | bldg:StatusPlugLoadFan a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:StatusSolenoidHotMBAShower . | bldg:StatusPlugLoadHairDryerCurlIron a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:StatusSolenoidHotMBATub . | bldg:StatusPlugLoadHandMixer a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBAShwCold . | bldg:StatusPlugLoadHeatingPad a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBAShwHot . | bldg:StatusPlugLoadIron a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBAShwMix . | bldg:StatusPlugLoadLRBlueRay a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBASinkRCold . | bldg:StatusPlugLoadLRTV a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBASinkRHot . | bldg:StatusPlugLoadMBRBlueRay a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBASinkRMixed . | bldg:StatusPlugLoadMBRTV a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBATubCold . | bldg:StatusPlugLoadSlowCooker a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBATubHot . | bldg:StatusPlugLoadToaster a brick:On_Off_Status .
bldg:Master_Bathroom brick:hasPoint bldg:WaterTempMBATubMix . | bldg:StatusPlugLoadToasterOven a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:EnergyParentAUpstairs . | bldg:StatusPlugLoadVacuum a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:EnergyParentBUpstairs . | bldg:StatusPlugLoadVideoGame a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:EnergyPlugsInstMBRA . | bldg:StatusSensHeatChildADOWN a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:EnergyPlugsMBR . | bldg:StatusSensHeatChildAUP a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:MastBedRmRH . | bldg:StatusSensHeatChildBDOWN a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:MBRPlugLoadsEnergyUsage . | bldg:StatusSensHeatChildBUP a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:MBRPlugLoadsPowerUsage . | bldg:StatusSensHeatPrntADOWN a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:PowerParentAUpstairs . | bldg:StatusSensHeatPrntAUP a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:PowerParentBUpstairs . | bldg:StatusSensHeatPrntBDOWN a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:PowerPlugsInstMBRA . | bldg:StatusSensHeatPrntBUP a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:PowerPlugsMBR . | bldg:StatusSolenoidColdKitchenSink a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:RadiantTempMBR . | bldg:StatusSolenoidColdMBAShower a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:RoomTempMBRTemp . | bldg:StatusSolenoidColdMBATub a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:StatusMBRLights1 . | bldg:StatusSolenoidHotKitchenSink a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:StatusMBRLights2 . | bldg:StatusSolenoidHotMBAShower a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:StatusPlugLoadFan . | bldg:StatusSolenoidHotMBATub a brick:On_Off_Status .
bldg:Master_Bedroom brick:hasPoint bldg:StatusPlugLoadHeatingPad . | bldg:StringCurrentIStr1 a brick:Current_Sensor .
bldg:Master_Bedroom brick:hasPoint bldg:StatusPlugLoadIron . | bldg:StringCurrentIStr2 a brick:Current_Sensor .
bldg:Master_Bedroom brick:hasPoint bldg:StatusPlugLoadMBRBlueRay . | bldg:StringCurrentIStr3 a brick:Current_Sensor .
bldg:Master_Bedroom brick:hasPoint bldg:StatusPlugLoadMBRTV . | bldg:StringCurrentIStr4 a brick:Current_Sensor .
bldg:Master_Bedroom brick:hasPoint bldg:StatusSensHeatPrntAUP . | bldg:StringVoltageUStr2 a brick:Voltage_Sensor .
bldg:Master_Bedroom brick:hasPoint bldg:StatusSensHeatPrntBUP . | bldg:StringVoltageUStr4 a brick:Voltage_Sensor .
bldg:Mudroom brick:hasPoint bldg:EnergyPlugsInstMudroomA . | bldg:VoltsANUAN1 a brick:Voltage_Sensor .
bldg:Mudroom brick:hasPoint bldg:EnergyPlugsInstMudroomB . | bldg:VoltsANUAN2 a brick:Voltage_Sensor .
bldg:Mudroom brick:hasPoint bldg:PowerPlugsInstMudroomA . | bldg:VoltsBNUBN1 a brick:Voltage_Sensor .
bldg:Mudroom brick:hasPoint bldg:PowerPlugsInstMudroomB . | bldg:VoltsBNUBN2 a brick:Voltage_Sensor .
bldg:Multiple brick:hasPoint bldg:1stFloorLightsEnergyUsage . | bldg:WaterFlowHXCoriolisSHW a brick:Flow_Sensor .
bldg:Multiple brick:hasPoint bldg:1stFloorLightsPowerUsage . | bldg:WaterFlowRateHXCoriolisSHW a brick:Flow_Sensor .
bldg:Multiple brick:hasPoint bldg:1stFloorSensHeatEnergyUsage . | bldg:WaterTempBAShowerMixed a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:1stFloorSensHeatPowerUsage . | bldg:WaterTempBAShwCold a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:2ndFloorLightsEnergyUsage . | bldg:WaterTempBAShwHot a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:2ndFloorLightsPowerUsage . | bldg:WaterTempBASinkCold a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:2ndFloorSensHeatEnergyUsage . | bldg:WaterTempBASinkHot a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:2ndFloorSensHeatPowerUsage . | bldg:WaterTempBASinkMixed a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:EnergyLights1stFloorA . | bldg:WaterTempDishwasher a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:EnergyLights1stFloorB . | bldg:WaterTempHPWHIn a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:PowerLights1stFloorA . | bldg:WaterTempHPWHOut a brick:Water_Temperature_Sensor .
bldg:Multiple brick:hasPoint bldg:PowerLights1stFloorB . | bldg:WaterTempKSinkCold a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:GlycolTempSHWPanel80galOut . | bldg:WaterTempKSinkHot a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:HeatPumpOutdoorUnitPower . | bldg:WaterTempKSinkMix a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:OutdoorAmbTemp . | bldg:WaterTempManifoldColdIn a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:PSPSHW . | bldg:WaterTempManifoldHotIn a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:PVBacksideTemp2 . | bldg:WaterTempMBAShwCold a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:PVBacksideTemp3 . | bldg:WaterTempMBAShwHot a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:PVBacksideTemp4 . | bldg:WaterTempMBAShwMix a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:PVBacksideTemp7 . | bldg:WaterTempMBASinkRCold a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:PVInsolationHArray . | bldg:WaterTempMBASinkRHot a brick:Relative_Humidity_Sensor .
bldg:Outdoor brick:hasPoint bldg:RooftopWindDirection . | bldg:WaterTempMBASinkRMixed a brick:Water_Temperature_Sensor .
bldg:Outdoor brick:hasPoint bldg:RooftopWindSpeed . | bldg:WaterTempMBATubCold a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:ClothesWasherColdFlow . | bldg:WaterTempMBATubHot a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:ClothesWasherEnergywithStandby . | bldg:WaterTempMBATubMix a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:ClothesWasherHotFlow . | bldg:WaterTempMixValveColdIn a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:ClothesWasherPowerWithStandby . | bldg:WaterTempMixValveHotIn a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:DryerEnergyTotal . | bldg:WaterTempSHWHX80galIn a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:DryerPowerTotal . | bldg:WaterTempSHWHX80galOut a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:EnergyClothesWasher . | bldg:WaterTempSHWTank80galIn a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:EnergyDryer1of2 . | bldg:WaterTempSHWTank80galOut a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:EnergyDryer2of2 . | bldg:WaterTempWasherCold a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:PowerClothesWasher . | bldg:WaterTempWasherHot a brick:Water_Temperature_Sensor .
bldg:Utility brick:hasPoint bldg:PowerDryer1of2 . | bldg:Watts3PhTotalW3PhT1 a brick:Power_Sensor .
bldg:Utility brick:hasPoint bldg:PowerDryer2of2 . | bldg:Watts3PhTotalW3PhT2 a brick:Power_Sensor .
bldg:Utility brick:hasPoint bldg:WaterTempWasherCold . | bldg:WhoursDeliveredWhD1 a brick:Energy_Usage_Sensor .
bldg:Utility brick:hasPoint bldg:WaterTempWasherHot . | bldg:WhoursDeliveredWhD2 a brick:Energy_Usage_Sensor .